## Consumables
Our Costs |  |  |  |  | Per Sample
Consumable | Amount Purchased | Units | Per Unit Cost | Price | Solution Made | Solution Strength | Amount Consumable Used | Amount Solution Created | Unit | Solution Used per Sample | Consumable Used Per Sample | Unit | Number Times Used | Cost
ammonium bicarbonate | 250,000 | mg | 0.00011424 | 28.56 | AmBic | 50mM | 39.53 | 10000 | uL | 700 | 0.056471 | uL | 1 | 6.4513e-06
Acetonitrile | 250,000 | uL | 0.00019704 | 49.26 | Conditioning Solution | 50:50 | 5000 | 10000 | uL | 250 | 20 | uL | 1 | 0.0039408
Sequencing Grade Modified Trypsin | 250 | uL | 0.352 | 88 | Trypsin Solution | std. | 1 | 1 | uL | 1 | 1 | uL | 1 | 0.352
Calibration Mix | 50,000 | uL | 0.0020676 | 103.38 | Cal Mix | n/a | 1 | 100 | uL | 1 | 1 | uL | 16 | 0.033082
HCL stock | 1,000,000 | uL | 3.041e-05 | 30.41 |  | 0.6M | 50000 | 1000000 | uL | 250 | 200 | uL | 3 | 0.018246
TFA stock | 2000 | uL | 0.010925 | 21.85 | TFA solution | 5% | 5 | 100 | uL | 1 | 5 | uL | 1 | 0.054625
[5 empty] | Washing Solution | 0.1% | 1 | 10000 | uL | 400 | 0.0025 | uL | 1 | 2.7313e-05
[5 empty] | Conditioning Solution | 0.1% | 1 | 10000 | uL | 250 | 0.004 | uL | 1 | 4.37e-05
Acetone | 1,000,000 | uL | 5.377e-05 | 53.77 |  | n/a | 10000 | n/a | n/a | 10000 | 1 | ul | 1 | 5.377e-05
Ethanol | 1,000,000 | uL | 0.00010256 | 102.56 | n/a | n/a | 10000 | n/a | n/a | 10000 | 1 | ul | 1 | 0.00010256
0.5 eppendorf tubes | 500 | count | 0.18078 | 90.39 | n/a | n/a |  | n/a | n/a |  | 5 | count | 1 | 0.9039
ZipTips C18S (medium size) | 96 | count | 2.7496 | 263.96 | n/a | n/a |  | n/a | n/a |  | 1 | count | 1 | 2.7496
pipette tips (micro) | 1000 | count | 0.06045 | 60.45 | n/a | n/a |  | n/a | n/a |  | 2 | count | 1 | 0.1209
pipette tips (medium) | 1000 | count | 0.06146 | 61.46 | n/a | n/a |  | n/a | n/a |  | 20 | count | 1 | 1.2292
MALDI Time | 60 | minutes | 0.66667 | 40 | n/a | n/a | 20 | n/a | minutes |  | 20 | minute | 1 | 13.3333
Total per Sample Cost | [13 empty] | 18.799
Assumes data acquisition proceeds at a rate of 3 samples an hour

## Time
| Per Sample | [5 empty] | Rate
Demineralization | Activity | Active Time Spent | Unit | Number of Times Performed | Total Active Time Spent | Unit | $15/hr (Undergrad) | $50/hr (Erin)
| Weigh Sample into Ep Tube | 300 | seconds | 1 | 300 | seconds
| Add 0.6M HCl | 45 | seconds | 1 | 45 | seconds
| Place in Fridge | 300 | seconds | 1 | 300 | seconds
| Clean Up Step 1 | 600 | seconds | 1 | 600 | seconds
| Check Samples | 120 | seconds | 3 | 360 | seconds
| Acid refresh | 120 | seconds | 2 | 240 | seconds
| Centrifuge | 90 | seconds | 3 | 270 | seconds
| Remove Acid | 60 | seconds | 3 | 180 | seconds
| Remove final AmBic rinse | 60 | seconds | 1 | 60 | seconds
Gelatine Extraction and Trypsin Digestion | Add AmBic | 60 | seconds | 1 | 60 | seconds
| Place in Heat Block | 10 | seconds | 1 | 10 | seconds
| Remove from Heat Block | 10 | seconds | 1 | 10 | seconds
| Prepare 2nd Ep Tube | 60 | seconds | 1 | 60 | seconds
| Transfer Supernatant to 2nd Ep Tube | 30 | seconds | 1 | 30 | seconds
| Prepare 3rd Ep Tube | 60 | seconds | 1 | 60 | seconds
| Add 50uL supernatant to 3rd Ep Tube | 60 | seconds | 1 | 60 | seconds
| Add Trypsin to 3rd Tube | 60 | seconds | 1 | 60 | seconds
| Place in Heat Block | 10 | seconds | 1 | 10 | seconds
| Remove from Heat Block | 10 | seconds | 1 | 10 | seconds
| Centrifuge | 60 | seconds | 1 | 60 | seconds
| Add TFA | 30 | seconds | 1 | 30 | seconds
Peptide Extraction | Aliquot Conditioning Solution | 60 | seconds | 1 | 60 | seconds
| Aliquot Washing Solution | 60 | seconds | 1 | 60 | seconds
| Rinse tip w C Solution | 30 | seconds | 2 | 60 | seconds
| Rinse tip w W Solution | 30 | seconds | 2 | 60 | seconds
| Resuspend Sample over tip | 30 | seconds | 1 | 30 | seconds
| Rinse tip w W Solution | 90 | seconds | 2 | 180 | seconds
| Elute Sample | 90 | seconds | 1 | 90 | seconds
Total Time and Cost |  |  |  |  | 0.93194 | hours | 13.9792 | 46.5972
Running Samples | Create Plate Map | 5 | seconds | 1 | 5 | seconds
| Spot Sample | 10 | seconds | 3 | 30 | seconds
| Prep Machine | 600 | seconds | 1 | 600 | seconds
| Run Sample* | 1200 | seconds | 1 | 1200 | seconds
Data Analysis | Identify Sample** | 2700 | seconds | 1 | 2700 | seconds
Total Time and Cost |  |  |  |  | 1.2597 | hours | 18.8958 | 62.9861
TOTAL COST | [6 empty] | 32.875 | 109.5833
76.9653
*Assumes a data acquisition rate of 3 samples per hour
** Assumes a non-databased species